## Slide 1: Bethel Energy Conservation Committee Energy Information Briefing: Municipal Energy Services Contract with Ameresco, Inc.
William Cratty, Chair, Bethel Energy Conservation Committee
Steven Weisman, Vice President, Peregrine Energy Group Owner’s Agent for Town of Bethel
OCTOBER 2, 2014

## Slide 2: Bethel building energy cost by source
Building annual energy cost exceeds $1,400,000 (FY2014)
  Electricity: $907,382
  Natural gas: $431,750
  Fuel oil: $66,095
  Propane: $5,450
Chart: 
| Electricity | Natural gas | Fuel oil | Propane
 | 907382 | 431750 | 66095 | 5450

## Slide 3: Bethel energy cost: Town vs. BOE
  Building area: Town vs. BOE facilities
  Town is 25.5% (179,651 sq. feet)
  BOE is 74.5% (535,734 sq. feet)
  Building energy expense: Town vs. BOE facilities
  Town is 33.4% ($471,737)
  BOE is 66.6% ($938,940)
Chart: 
| Town buildings | School buildings
 | 179651 | 525734
Chart: 
| Town buildings | School buildings
 | 471737 | 938940

## Slide 4: Bethel energy use and cost
Building energy use (and cost) is higher than it could be, compared to efficient buildings elsewhere
Chart: 
| Elementary Schools | Middle School | High School | Town Buildings
Series 1 | 20 | 10 | 20 | 5
Series 2 | 20 | 0 | 0 | 35

## Slide 5: Causes of High Energy Use
Operational practices (e.g. temperature set points and schedules)
Energy efficiency of technology in place (e.g. lighting)
Age and condition of building equipment (e.g. HVAC systems)

## Slide 6: Bethel Energy Conservation Committee
Goal
Strategy
Result
Benefit
reduce energy use and modernize energy systems
use energy savings to pay the cost of improvements
lower energy use and updated building systems
“free” (no upfront cost)
Notes: “Free” is not really free. Bethel takes out a loan to invest in the energy saving improvements, and pays it back with the energy savings realized.

## Slide 7: Energy Services Company
ECC has worked since 2012 to engage an “ESCO” or Energy Services Company as the Town’s energy project developer
ESCO’s are specialized contractors who design and install energy improvements under performance contracts
Contracts guarantee that annual energy savings pay the cost for capital improvements or ESCO makes up the difference

## Slide 8: Why the ECC strategy is attractive
Bethel spends more than it needs to for energy
Building equipment is out-of-date or needs replacing
Town has limited resources (capital funds, staff, expertise)
Avoids tax increases
Performance protection

## Slide 9: Who else in CT is using ESCOs?
State of Connecticut at correctional facilities, hospitals, UCONN, DMV, and elsewhere
Numbers of cities and towns, including:
  Farmington
  West Hartford
  Bloomfield
  Enfield
  East Hartford
  Greenwich
  Bristol
  Naugatuck
Public housing authorities

## Slide 10: ECC progress to date
2012
Ameresco, Inc. selected based on qualifications, references, etc.
ECC and Ameresco have refined the proposed project
Peregrine Energy Group, Inc. (PEG) hired as Town’s Owner’s Agent
Bethel issued an RFQ to ESCOs
5 submit responses
Ameresco has prepared an investment grade audit and proposal
2014
Audit identifies needs / opportunities and Identifies costs and savings
PEG reviews Ameresco proposal and helps improve on details

## Slide 11: Project overview and responsibilities
Project
ESCO for a 15-yr. performance contract
Responsible for design, construction, and performance
Guarantees annual savings and makes up any annual savings shortfalls
Town of Bethel
Secures a 15-yr. municipal lease
Energy savings in annual budget pays financing costs
Peregrine
Owner’s agent for Town
Oversees project
Ameresco
$4,280,492 energy services agreement
Replaces obsolete systems & improves energy efficiency
Bundles together multiple projects in multiple Municipal and School facilities
Reviews design documents, oversees construction, witnesses commissioning
Responsible for ongoing Operation, Administration and Maintenance
Total project will be constructed and commissioned in 12 – 15 months
Validates that guaranteed savings have been achieved
Project is self-funding

## Slide 12: Project financial summary
Overall project cost: $4,280,492,
  less $500,000 Town capital contribution & $575,728 CL&P rebates
Annual savings (initial): $243,973
  Anticipated to increase an average 3% per year as energy prices rise
Lease payment (Yr. 1): $224,910
  Structured to increase 3% annually over 15 years
Chart: Project Costs
| Town | School
Costs | 2397521 | 2034496
Chart: Annual Savings
| Town | School
Savings | 86473 | 170284
Notes: This slide seems to show that the School realizes more savings but gets a lower investment than the Town side. Bear in mind that the Town is contributing $500,000 as part of this project to replace significant capital equipment (e.g. boilers in town hall) that have failed or are about to fail. These capital items have a lower payback, but have a life considerably longer than 15 years. Also, please remember that the taxes that ultimately pay for all this come from the same wallets.
Schools
Project costs $2,034,496, less rebates
Savings (initial) $170,284
Town facilities
Project costs $2,397,521, less Town contribution, rebates
Savings (initial) $86,473

## Slide 13: Efficiency and infrastructure upgrades
Municipal Center, Library, Public Works, Water Treatment
Municipal Center:
  Chiller replacement
  Boiler replacement
  Variable Air Volume (VAV) boxes replaced
  Additional HVAC improvements, including air handler controllers
Library:
  Variable frequency drives for pumps
Bethel Public Works:
  Oil to gas conversion
  Replace heating systems
Water treatment:
  Boiler replacement

## Slide 14: Efficiency and infrastructure upgrades
Schools buildings
High School
  Add demand control ventilation
  Variable frequency drives for pumps
Berry School
  VAV box controllers replaced
  Air balancing
  Replacing CO2 sensors
Rockwell and Johnson Schools
  Unit ventilator repairs
Middle School
  Variable frequency drives for pumps and fans
  Energy efficient motors

## Slide 15: Efficiency and infrastructure upgrades
 | Lighting | Energy Controls | Air Infiltration & Insulation | Efficient Transformers | Water Conservation
Bethel FD | X |  |  |  | 
Library |  | X | X |  | 
Municipal Center | X | X | X |  | X
Parks | X |  | X |  | 
Police Station | X |  | X |  | 
Public Works | X | X | X |  | 
Stoney Hill FD | X | X |  |  | 
Water Treatment | X |  | X |  | 
Berry School | X | X | X | X | 
High School | X | X |  |  | 
Johnson School | X | X | X |  | 
Middle School | X | X |  | X | X
Rockwell School | X | X | X |  | 
YMCA | X |  | X |  | 

## Slide 16: Project Cash Flows
Town arranges municipal lease (TELP); sets up escrow account
Town pays Ameresco out of escrow account as equipment is installed and fully commissioned
Lease payments begin at overall project completion, using energy savings retained in utility accounts (operating budget)
Actual savings are confirmed annually by Town’s Owner’s Agent
Ameresco makes up any shortfalls in actual annual energy savings vs. guaranteed savings at then current energy rates
Notes: TELP = Tax Exempt Lease-Purchase agreement

## Slide 17: Self-funding performance contract
TIME
Cost
Reduced Energy Cost
Contract
Expense
Savings
Transition
Energy cost without project
Actual energy cost with project
Lease expense
Annual
energy
cost
savings
TIME
COST

## Slide 18: Where are Bethel’s risks?
Ameresco doesn’t complete the job or work is sub-par
Contractor’s bond required
Energy savings may not be achieved
Owner’s agent confirms guaranteed savings
Ameresco must make up value of any annual shortfall
Energy prices fall, reducing the value of savings
Dropping energy prices increase savings in level-funded energy budget
Successful commissioning required before acceptance by Town
Additional savings can cover lease expense

## Slide 19: Next Steps
Selectmen execute Energy Services Agreement with Ameresco
Bethel arranges financing (municipal lease)
Special Town Meeting to approve financing
Ameresco begins design and construction
Project completed
2014
2014
2014
2014
2016

## Slide 20: The Energy Conservation Committee
Mark Anderson
Bill Cratty (Chairman)
David Dunn
Bill Hillman
Henry Karl
Randi Oisher,
Gary Pedone
Keith Watson
Fred Zalcman